## Appendix 11

## County Health Department Name

Address

## LABORATORY QUALITY SYSTEMS ASSESSMENT CHECKLIST

Select one or more sections under a system periodically and evaluate components or processes for compliance.

- Write “Y” for Yes or “N” for No by an item to indicate the outcome of the assessed item.

- Write “N/A” if item is not applicable at the time of evaluation.

- In the “Comments” area, explain how the assessment was done. Were charts reviewed, requisitions examined, for what period of time? List all significant findings.

- Summarize overall findings in the “Discussion” area on the last page. Were the findings satisfactory or unsatisfactory?

GENERAL LABORATORY SYSTEMS

### PATIENT CONFIDENTIALITY:

________Patient information was kept confidential throughout all phases of testing under the laboratory’s control.

________Does the laboratory staff view the contents of the patient’s chart at any point?

Comments:

PATIENT IDENTIFICATION & SPECIMEN INTEGRITY:

________Were specimens collected by non-laboratory personnel labeled legibly and correctly?

________Was proper paperwork submitted for the specimens received?

________Were specimen rejection policies followed?

________Were submitters notified when discrepancies were found?

________Did the lab maintain optimum integrity of each specimen through completion of testing?

Comments:

COMPLAINT INVESTIGATIONS:

________Have complaints been documented (on the Problem Log) and investigated according to policy?

________If a complaint was investigated, was the problem and resolution documented?

________Was the resolution followed up to ensure corrective action was appropriate?

________Were policy and/or procedure revisions necessary to prevent reoccurrence of the complaint?

Comments:

COMMUNICATIONS:

Internal:

________Did the lab manager share information received from administration with other lab personnel?

________Did the lab manager share information received from the Technical Consultant with other lab personnel?

External:

________Were emails and/or voicemail from the Technical Consultant responded to in an appropriate amount of time or                   by the deadline?

________Was the Technical Consultant contacted immediately when there was an unresolved instrument or QC failure?

Comments:

PERSONNEL COMPETENCY ASSESSMENT:

________Has orientation and training been documented for all testing personnel?

________Has proof of minimum education been provided to the lab manager for all testing personnel?

________Has proof of education been forwarded to the Technical Consultant for new testing personnel?

________Has the Lab Director reviewed and signed off on the assigned duties for testing personnel performing non-waived tests?

________Has the Technical Consultant reviewed and signed off on the assigned duties for testing personnel performing only waived tests?

________Have all testers performed QC on all approved tests at least once per quarter?

________Did all testing personnel complete required annual continuing education in the previous calendar year?

________Were competency assessments performed by appropriate personnel?

________Were competency assessment results reviewed with appropriate personnel?

________Were competency assessment failures investigated by the Technical Consultant and follow up shared with the lab manager?

________Was competency assessed for personnel performing blood collections?

Comments:

PROFICIENCY TESTING:

Only for laboratories that are performing at least one module of proficiency testing.

________Was proficiency testing rotated among testing personnel?

________Were proficiency samples processed in a manner similar to patient samples?

________Was the Proficiency Testing (PT) Performance form completed for each PT event?

________Were copies of all submitted proficiency results retained?

________Were incorrect results (graded and ungraded) investigated and corrective action taken?

Comments:

SAFETY:

________Was the Technical Consultant notified of any situation that could affect the lab’s performance or the safety of employees?

________Has the Safety Manual been updated in the last 5 years?

________Have lab personnel received annual safety training?

________Have lab personnel documented annual review of safety manuals?

________Has a sharps evaluation been done this calendar year? The previous calendar year?

Comments:

### PREANALYTIC SYSTEMS

TEST REQUISITION:

________Did the lab have written (or electronic) requests for all tests performed?

________Did test requisitions contain all necessary information as stated in the lab’s policy?

- Specimen source

- Date and Time (when appropriate) of collection

- Patient identification (2 )

- Ordering clinic or provider

- Test ordered

________Was “received time” documented for all laboratory specimens tested?

Comments:

POLICY MANUAL:

________Have lab personnel documented annual review of policies?

________Are policies current?

________Have normal and panic values been reviewed and approved by the Clinical Consultant this calendar year?

Comments:

### ANALYTIC SYSTEMS

PROCEDURE MANUAL:

________Are lab procedures current and complete?

________Are all procedures saved electronically?

________Are current package inserts in place with the corresponding procedure?

________Have lab personnel documented annual review of procedures?

________Has the Technical Consultant documented annual review of procedures?

________Are discontinued procedures dated and kept for a two-year minimum?

Comments:

QUALITY CONTROL:

________Were environmental controls (temperature, humidity, etc.) recorded and within acceptable limits prior to testing?

________Were only in-date reagents, controls, kits, media, etc., used?

________Were new lots of QC reagents (hemoglobin, glucose) verified before the current lot expired? Before being put into use?

________Was new lot verification documented at the time of testing on the appropriate form?

________Was procedural QC performed, documented, and within acceptable limits before patient test results were reported?

________Was QC performed at the required frequency (per CLIA Contract description)?

________Were appropriate Levy-Jennings charts plotted each day of testing and evaluated for trends or shifts?

________Were QC failures (i.e., out-of-range results) documented, along with corrective action?

________Was performance of QC rotated among testing personnel?

Comments:

MAINTENANCE & FUNCTION CHECKS:

________Was scheduled instrument/equipment maintenance properly performed and documented?

Comments:

COMPARISON OF TEST RESULTS:

________Were instrument comparisons, when applicable, conducted twice a year?

________Was parallel testing documented twice each year by all testing personnel performing wet mounts?

Comments:

TEST RECORDS:

________Were records of testing, including worksheets and instrument printouts, retained and complete?

________Was the identity of testing personnel documented for each intermediate step in testing?

Comments:

#### POSTANALYTIC SYSTEMS

TEST REPORT:

________Were test results present?

________Did the tester initial the results?

________Are reference values on the report or readily accessible?

________Were panic values reported and documented according to lab policy?

________Were corrected/amended reports issued according to lab policy?

Comments:

DATA STORAGE & RETRIEVAL:

________Were exact copies of in-house test reports maintained and accessible?

________Was lab documentation (i.e., QC records, worksheets, package inserts, and instrument printouts) retained for a minimum of two years?

Comments:

DISCUSSION: 	Describe the outcome of the assessment. Were all areas evaluated satisfactory? If not, explain why and describe the corrective action plan. Will a QA Study be initiated as a result of this assessment?

COMPLETED BY: ____________________________________________________ DATE: ____________

LAB MANAGER REVIEW: ______________________________________________ DATE: ____________

TECHNICAL CONSULTANT REVIEW: ____________________________________ DATE: ____________